## TOF example
AFTER LEFT SHIFTING
[11 empty] | LEFT SHIFTED VALUES |  |  |  |  | TOF1d equals TOF0 + TOF3 - TOF2 - CHECKSUM + (LEFT_SCI_BOUNDARY x 2 )
SHCOARSE | ABSENT | TIMESTAMP | EGY | MODE | TOF0 | TOF1 | TOF2 | TOF3 | CHKSUM | POSITION | TOF0_left | TOF1_left | TOF2_left | TOF3_left | chk_left | TOF1d | TOF0[ns] | TOF1[ns] | TOF2[ns] | TOF3[ns] | TOF1s | TOF0s
507643529 | 0 | 1601 | 6 | 1 | 634 | 0 | 198 | 1 | 6 | 0 | 1268 | 0 | 396 | 2 | 12
[11 empty] | 1268 | 0 | 396 | 2 | 12 | 902 | 214.0457 | 148.2181 | 66.2728 | 0.81014 | 147.813 | 214.4507

## ADC values
ADC_TOF0 = [5.5252E-01 , 1.6837E-01] |  |  | 0.55252 | 0.16837
ADC_TOF1 = [-7.2018E-01, 1.6512E-01] |  |  | -0.72018 | 0.16512
ADC_TOF2 = [3.7442E-01, 1.6641E-01] |  |  | 0.37442 | 0.16641
ADC_TOF3 = [4.6726E-01, 1.7144E-01] |  |  | 0.46726 | 0.17144
ILO_P_SCI_DE_LEFT_BOUNDRY |  |  | 20
self.left_bit = param_get(pSCI_DE_LEFT_BOUNDRY);
//needs to be negative
self.left_bit = self.left_bit * -1;
self.right_bit = self.left_bit + 15;
static int sci_calc_chksum(direct_event_t event)
{
//This is after right shift by 1 of original data numbers
int chksum = (event.tof0 + event.tof3) - (event.tof1 + event.tof2);
return chksum;
}
static int sci_check_golden(int chksum)
{
int status = false;
if ((chksum >= self.left_bit) && (chksum <= self.right_bit))
{
status = true;
}
return status;
}
static int sci_calc_golden_chksum(int chksum)
{
int golden_chksum = chksum - self.left_bit;
if (golden_chksum < 0)
{
golden_chksum = golden_chksum * -1;
}
return golden_chksum;
}
SCI_DE_LEFT_BOUNDRY | 20 | based on LUT Table
The boundary is set to 20 in the LUT
SO the proper correction is as follows:
tof1 = tof0 + tof3 -tof2 - checksum + 2 x LEFT_SCI_BOUNDARY
This is applied at level 1a AFTER LEFTSHIFT of telemetry